## YearTab
PERHIMPUNAN PENGHUNI MENARA IMPERIUM
SCHEDULE OF PREVENTIVE MAINTENANCE
AS OF YEAR | [19 empty] | 2022
WEEK
NO. | EQ_CODE | N A M E | LOCATION | [9 empty] | 1 | [9 empty] | 2 | [9 empty] | 3 | [9 empty] | 4 | [9 empty] | 5
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 0 | 1 | 2
1 | EL-001 | PLN CUBICLE | LG-4 | bar: 6
2 | EL-002 | SWITCH GEAR MVMDP 20kV + ACCU + CHARGER | LG-4 | bar: 6
3 | EL-003 | TRANSFORMER 1 | LG-4 | bar: 6
4 | EL-004 | TRANSFORMER 2 | LG-4 | bar: 6
5 | EL-005 | TRANSFORMER 3 | LG-4 | bar: 6
6 | EL-006 | TRANSFORMER 4 | LG-4 | bar: 6
7 | EL-007 | PANEL LVMDP 1 | LG-4 | bar: 1; 8; 5
8 | EL-008 | PANEL LVMDP 2 | LG-4 | bar: 2; 9; 6
9 | EL-009 | PANEL LVMDP 3 | LG-4 | bar: 3; 0; 7
10 | EL-010 | PANEL LVMDP 4 | LG-4 | bar: 4; 1; 8
11 | EL-011 | PANEL LVMDP 5 | LG-4 | bar: 5; 2; 9
12 | EL-012 | PANEL GENSET P-CG(AMF) | LG-4 | bar: 6; 3; 0
13 | EL-013 | PANEL PP-TSF | LG-4 | bar: 7; 4; 1
14 | EL-014 | PANEL PP-HYD | LG-4 | bar: 8; 5; 2
15 | EL-015 | PANEL PP-PH | LG-4 | bar: 9; 6; 3
16 | EL-017 | PANEL PP WATER PITCHER | MN-GR | bar: 0; 7; 4
17 | EL-018 | PANEL PP-FANPH | LG-4 | bar: 1; 8; 5
18 | EL-019 | PANEL PP-LIFT13 | LG-4 | bar: 2; 9; 6
19 | EL-020 | PANEL PP-LIFT12 | LG-4 | bar: 3; 0; 7
20 | EL-021 | PANEL PP-SP | LG-4 | bar: 4; 1; 8
21 | EL-022 | PANEL PPBI-FAN | LG-4 | bar: 5; 2; 9
22 | EL-023 | PANEL CP-FAN1 | LG-4 | bar: 6; 3; 0
23 | EL-024 | PANEL CP-FAN2 | LG-4 | bar: 7; 4; 1
24 | EL-025 | PANEL SDP-P | LG-4 | bar: 8; 5; 2
25 | EL-026 | PANEL LP-LG4-1 | LG-4 | bar: 1; 9; 6
26 | EL-027 | PANEL LP-LG4-2 | LG-4 | bar: 2; 0; 7
27 | EL-028 | PANEL LP-LG4-3 | LG-4 | bar: 3; 1; 8
28 | EL-029 | PANEL LP-LG4-4 | LG-4 | bar: 4; 2; 9
29 | EL-030 | PANEL PP-LG4-L | LG-4 | bar: 5; 3; 0
30 | EL-032 | PANEL SDP-LG1 | LG | bar: 7; 5; 2
31 | EL-033 | PANEL SDP-LG2 | LG | bar: 8; 6; 3
32 | EL-035 | PANEL PP-LG-2 | LG | bar: 0; 8; 5
33 | EL-037 | PANEL LP-LG1/GF | MN-GR | bar: 2; 0; 7
34 | EL-039 | PANEL SDP-G | MN-GR | bar: 3; 1; 8
35 | EL-040 | PANEL PP-G-L | MN-GR | bar: 4; 2; 9
36 | EL-043 | PANEL LP-P 3/4 | MN-MZ | bar: 7; 5; 2
37 | EL-044 | PANEL LP-P 1/2 | MN-MZ | bar: 1; 8; 6
38 | EL-046 | PANEL PP-FAN-MEZ | MN-MZ | bar: 2; 9; 7
39 | EL-047 | PANEL PP-M-L | MN-MZ | bar: 3; 0; 8
40 | EL-050 | PANEL FAN-3 | MN-03 | bar: 4; 1; 9
41 | EL-051 | PANEL LP-P-7/8 | MN-03 | bar: 5; 2; 0
42 | EL-052 | PANEL LP-P-5/6 | MN-03 | bar: 6; 3; 1
43 | EL-054 | PANEL PP-3-L | MN-03 | bar: 7; 4; 2
44 | EL-056 | PANEL LP-9/10 | MN-04 | bar: 9; 6; 4
45 | EL-057 | PANEL PP-4-L | MN-04 | bar: 0; 7; 5
46 | EL-059 | PANEL LP-P-11/12 | MN-05 | bar: 2; 9; 7
47 | EL-061 | PANEL PP-5-L | MN-05 | bar: 3; 0; 8
48 | EL-063 | PANEL PP-PF 13/14 | MN-06 | bar: 4; 1; 9
49 | EL-064 | PANEL PP-PF1 | MN-06 | bar: 5; 2; 0
50 | EL-068 | PANEL LPP-13/14 | MN-06 | bar: 1; 7; 4
51 | EL-069 | PANEL LP-CH | MN-06 | bar: 2; 8; 5
52 | EL-070 | PANEL PP-CH-1 | MN-06 | bar: 3; 9; 6
53 | EL-071 | PANEL PP-6-L | MN-06 | bar: 4; 0; 7
54 | EL-072 | PANEL PP-CH-2 | MN-06 | bar: 5; 1; 8
55 | EL-073 | PANEL SDP-HC-2 | MN-07 | bar: 6; 2; 9
56 | EL-078 | PANEL SDP-7 | MN-07 | bar: 7; 3; 0
57 | EL-091 | PANEL SDP-8 | MN-08 | bar: 9; 5; 2
58 | EL-092 | PANEL PP-8L | MN-08 | bar: 0; 6; 3
59 | EL-094 | PANEL SDP-9 | MN-09 | bar: 1; 7; 4
60 | EL-095 | PANEL PP-9L | MN-09 | bar: 2; 8; 5
61 | EL-097 | PANEL SDP-10 | MN-10 | bar: 3; 9; 6
62 | EL-098 | PANEL PP-10L | MN-10 | bar: 4; 0; 7
63 | EL-100 | PANEL SDP-11 | MN-11 | bar: 5; 1; 8
64 | EL-101 | PANEL PP-11L | MN-11 | bar: 6; 2; 9
65 | EL-103 | PANEL SDP-12 | MN-12 | bar: 7; 3; 0
66 | EL-104 | PANEL PP-12L | MN-12 | bar: 8; 4; 1
67 | EL-106 | PANEL SDP 13 | MN-12X | bar: 9; 5; 2
68 | EL-107 | PANEL PP 13L | MN-12X | bar: 0; 6
69 | EL-109 | PANEL SDP 14 | MN-15 | bar: 1; 7
70 | EL-110 | PANEL PP 14L | MN-15 | bar: 2; 8
71 | EL-112 | PANEL SDP 15 | MN-16 | bar: 3; 9
72 | EL-113 | PANEL PP 15L | MN-16 | bar: 4; 0
73 | EL-115 | PANEL SDP 16 | MN-17 | bar: 5; 1
74 | EL-116 | PANEL PP 16L | MN-17 | bar: 6; 2
75 | EL-118 | PANEL SDP 17 | MN-18 | bar: 7; 3
76 | EL-119 | PANEL PP 17L | MN-18 | bar: 8; 4
77 | EL-121 | PANEL SDP 18 | MN-19 | bar: 9; 5
78 | EL-122 | PANEL PP 18L | MN-19 | bar: 0; 6
79 | EL-124 | PANEL SDP 19 | MN-20 | bar: 1; 7
80 | EL-125 | PANEL PP 19L | MN-20 | bar: 2; 8
81 | EL-127 | PANEL SDP 20 | MN-21 | bar: 3; 9
82 | EL-128 | PANEL PP 20L | MN-21 | bar: 4; 0
83 | EL-132 | PANEL SDP-21 | MN-22 | bar: 1; 7
84 | EL-133 | PANEL PP-21L | MN-22 | bar: 2; 8
85 | EL-135 | PANEL SDP-22 | MN-23 | bar: 3; 9
86 | EL-136 | PANEL PP-22L | MN-23 | bar: 4; 0
87 | EL-138 | PANEL PP-LIFT/LZ | MN-25 | bar: 5; 1
88 | EL-139 | PANEL PP-FCU LVL22 | MN-25 | bar: 6; 2
89 | EL-140 | PANEL SDP-23 | MN-25 | bar: 7; 4; 3
90 | EL-141 | PANEL PP-23L | MN-25 | bar: 8; 5; 4
91 | EL-143 | PANEL SDP-24 | MN-26 | bar: 9; 6; 5
92 | EL-144 | PANEL PP-24L | MN-26 | bar: 0; 7; 6
93 | EL-146 | PANEL SDP-25 | MN-27 | bar: 1; 8; 7
94 | EL-147 | PANEL PP-25L | MN-27 | bar: 2; 9; 8
95 | EL-149 | PANEL SDP-26 | MN-28 | bar: 3; 0; 9
96 | EL-150 | PANEL PP-26L | MN-28 | bar: 4; 1; 0
97 | EL-152 | PANEL SDP-27 | MN-29 | bar: 5; 2; 1
98 | EL-153 | PANEL PP-27L | MN-29 | bar: 6; 3; 2
99 | EL-155 | PANEL SDP-28 | MN-30 | bar: 1; 7; 4
100 | EL-156 | PANEL PP-28L | MN-30 | bar: 2; 8; 5
101 | EL-158 | PANEL SDP-29 | MN-31 | bar: 3; 9; 6
102 | EL-159 | PANEL PP-29L | MN-31 | bar: 4; 0; 7
103 | EL-161 | PANEL SDP-30 | MN-32 | bar: 5; 1; 8
104 | EL-162 | PANEL PP-30L | MN-32 | bar: 6; 2; 9
105 | EL-164 | PANEL SDP-31 | MN-33 | bar: 7; 3; 0
106 | EL-165 | PANEL PP-31L | MN-33 | bar: 8; 4; 1
107 | EL-167 | PANEL SDP-32 | MN-35 | bar: 9; 5; 2
108 | EL-191 | PANEL PP-GONDOLA | MN-37 | bar: 6; 5; 1
109 | EL-196 | PANEL LP-ROOF-OBS | MN-38 | bar: 0; 9; 5
110 | EL-197 | PANEL PP-FAN/ROOF | MN-38 | bar: 1; 0; 6
111 | EL-199 | PANEL PP-LIFT9 | MN-38 | bar: 3; 2; 8
112 | EL-200 | PANEL PP-LIFT10 | MN-38 | bar: 4; 3; 9
113 | EL-201 | PANEL PP-LIFT/HZ | MN-38 | bar: 5; 4; 0
114 | EL-202 | PANEL DUPLINE 128 | LG-4 | bar: 6; 5; 1
115 | EL-203 | PANEL SUM PUMP 1 | LG-4 | bar: 7; 6; 2
116 | EL-204 | PANEL SUM PUMP 2 | LG-4 | bar: 1; 8; 7
117 | EL-205 | PANEL SUM PUMP 3 | LG-4 | bar: 2; 9; 8
118 | EL-206 | PANEL SUM PUMP 4 | LG-4 | bar: 3; 0; 9
119 | EL-207 | PANEL SUM PUMP 5 | LG-4 | bar: 4; 1; 0
120 | EL-208 | PANEL SUM PUMP 6 | LG-4 | bar: 5; 2; 1
121 | EL-209 | PANEL SUM PUMP 7 | LG-4 | bar: 6; 3; 2
122 | EL-210 | PANEL SUM PUMP 8 | LG-4 | bar: 7; 4; 3
123 | EL-211 | PANEL SUM PUMP 9 | LG-4 | bar: 8; 5; 4
124 | EL-212 | PANEL SUM PUMP 10 | LG-4 | bar: 9; 6; 5
125 | EL-214 | PANEL LP - LG3 | LG-3 | bar: 0; 7; 6
126 | EL-215 | PANEL DUPLINE R.LVMDP | LG-4 | bar: 1; 6
127 | EL-217 | PANEL DUPLINE GROUND FLOOR | MN-GR | bar: 3; 8
128 | EL-219 | PANEL DUPLINE LT. P13 | MN-03 | bar: 5; 0
129 | EL-220 | PANEL DUPLINE LT. P15 | MN-04 | bar: 6; 1
130 | EL-221 | PANEL DUPLINE LT. P17 | MN-05 | bar: 7; 2
131 | EL-222 | PANEL DUPLINE LT. P19 | MN-06 | bar: 8; 3
132 | EL-223 | PANEL DUPLINE LT. 7 | MN-07 | bar: 9; 4
133 | EL-224 | PANEL DUPLINE LT. 8 | MN-08 | bar: 0; 5
134 | EL-225 | PANEL DUPLINE LT. 9 | MN-09 | bar: 1; 6
135 | EL-226 | PANEL DUPLINE LT. 10 | MN-10 | bar: 2; 7
136 | EL-227 | PANEL DUPLINE LT. 11 | MN-11 | bar: 3; 8
137 | EL-228 | PANEL DUPLINE LT. 12 | MN-12 | bar: 4; 9
138 | EL-229 | PANEL DUPLINE LT. 12X | MN-12X | bar: 5; 0
139 | EL-230 | PANEL DUPLINE LT. 15 | MN-15 | bar: 6; 1
140 | EL-231 | PANEL DUPLINE LT. 16 | MN-16 | bar: 7; 2
141 | EL-232 | PANEL DUPLINE LT. 17 | MN-17 | bar: 8; 3
142 | EL-233 | PANEL DUPLINE LT. 18 | MN-18 | bar: 9; 4
143 | EL-234 | PANEL DUPLINE LT. 19 | MN-19 | bar: 0; 5
144 | EL-235 | PANEL DUPLINE LT. 20 | MN-20 | bar: 1; 6
145 | EL-236 | PANEL DUPLINE LT. 21 | MN-21 | bar: 2; 7
146 | EL-237 | PANEL DUPLINE LT. 22 | MN-22 | bar: 3; 8
147 | EL-238 | PANEL DUPLINE LT. 23 | MN-23 | bar: 4; 9
148 | EL-239 | PANEL DUPLINE LT. 25 | MN-25 | bar: 5; 0
149 | EL-240 | PANEL DUPLINE LT. 26 | MN-26 | bar: 6; 1
150 | EL-241 | PANEL DUPLINE LT. 27 | MN-27 | bar: 7; 2
151 | EL-242 | PANEL DUPLINE LT. 28 | MN-28 | bar: 1; 8
152 | EL-243 | PANEL DUPLINE LT. 29 | MN-29 | bar: 2; 9
153 | EL-244 | PANEL DUPLINE LT. 30 | MN-30 | bar: 3; 0
154 | EL-245 | PANEL DUPLINE LT. 31 | MN-31 | bar: 4; 1
155 | EL-246 | PANEL DUPLINE LT. 32 | MN-32 | bar: 5; 2
156 | EL-247 | PANEL DUPLINE LT. 33 | MN-33 | bar: 6; 3
157 | EL-251 | KWH METER LG | LG | bar: 1; 9; 7
158 | EL-252 | KWH METER LT. LG3 | LG-3 | bar: 2; 0; 8
159 | EL-253 | KWH METER LT. GR | MN-GR | bar: 3; 1; 9
160 | EL-255 | KWH METER LT. P3 | MN-MZ | bar: 5; 3; 1
161 | EL-256 | KWH METER LT. 7 | MN-07 | bar: 6; 4; 2
162 | EL-257 | KWH METER LT. 8 | MN-08 | bar: 7; 5; 3
163 | EL-258 | KWH METER LT. 9 | MN-09 | bar: 8; 6; 4
164 | EL-259 | KWH METER LT. 10 | MN-10 | bar: 9; 7; 5
165 | EL-260 | KWH METER LT. 11 | MN-11 | bar: 0; 8; 6
166 | EL-261 | KWH METER LT. 12 | MN-12 | bar: 1; 9; 7
167 | EL-262 | KWH METER LT. 12X | MN-12X | bar: 2; 0; 8
168 | EL-263 | KWH METER LT. 15 | MN-15 | bar: 3; 1; 9
169 | EL-264 | KWH METER LT. 16 | MN-16 | bar: 4; 2; 0
170 | EL-265 | KWH METER LT. 17 | MN-17 | bar: 5; 3; 1
171 | EL-266 | KWH METER LT. 18 | MN-18 | bar: 6; 4; 2
172 | EL-267 | KWH METER LT. 19 | MN-19 | bar: 1; 7; 5
173 | EL-268 | KWH METER LT. 20 | MN-20 | bar: 2; 8; 6
174 | EL-269 | KWH METER LT. 21 | MN-21 | bar: 3; 9; 7
175 | EL-270 | KWH METER LT. 22 | MN-22 | bar: 4; 0; 8
176 | EL-271 | KWH METER LT. 23 | MN-23 | bar: 5; 1; 9
177 | EL-272 | KWH METER LT. 25 | MN-25 | bar: 6; 2; 0
178 | EL-273 | KWH METER LT. 26 | MN-26 | bar: 7; 3; 1
179 | EL-274 | KWH METER LT. 27 | MN-27 | bar: 8; 4; 2
180 | EL-275 | KWH METER LT. 28 | MN-28 | bar: 9; 5; 3
181 | EL-276 | KWH METER LT. 29 | MN-29 | bar: 0; 6; 4
182 | EL-277 | KWH METER LT. 30 | MN-30 | bar: 1; 7; 5
183 | EL-278 | KWH METER LT. 31 | MN-31 | bar: 2; 8; 6
184 | EL-279 | KWH METER LT. 32 | MN-32 | bar: 3; 9; 7
185 | EL-280 | KWH METER LT. 33 | MN-33 | bar: 4; 0; 8
186 | EL-281 | KWH METER LT. 35 | MN-35 | bar: 5; 1; 9
187 | AC-001 | CHILLER 1 | CP-GF | bar: 1; 5; 9; 3; 7; 1; 5; 9; 3; 7; 1; 5; 9
188 | AC-002 | CHILLER 2 | CP-GF | bar: 2; 6; 0; 4; 8; 2; 6; 0; 4; 8; 2; 6; 0
189 | AC-003 | CHILLER 3 | CP-GF | bar: 3; 7; 1; 5; 9; 3; 7; 1; 5; 9; 3; 7; 1
190 | AC-004 | CHILLER 4 | CP-GF | bar: 4; 8; 2; 6; 0; 4; 8; 2; 6; 0; 4; 8; 2
191 | ACT-005 | CHILLER 5 | CP-GF | bar: 1 to 2
192 | AC-016 | CHILLED W PUMP SEKUNDER 1 | CP-12 | bar: 4; 0; 6; 2; 8; 4; 0; 6; 2
193 | AC-017 | CHILLED W PUMP SEKUNDER ST BY 1 | CP-12 | bar: 5; 1; 7; 3; 9; 5; 1; 7
194 | AC-018 | CHILLED W PUMP SEKUNDER 2 | CP-15 | bar: 5; 1; 7; 3; 9; 5; 1; 7
195 | AC-019 | CHILLED W PUMP SEKUNDER ST BY 2-3 | CP-15 | bar: 5; 1; 7; 3; 9; 5; 1; 7
196 | AC-020 | CHILLED W PUMP SEKUNDER 3 | CP-15 | bar: 6; 2; 8; 4; 0; 6; 2; 8
197 | AC-021 | CHILLED W PUMP SEKUNDER 4 | CP-15 | bar: 6; 2; 8; 4; 0; 6; 2; 8
198 | AC-022 | CHILLED W PUMP SEKUNDER ST BY 4 | CP-15 | bar: 6; 2; 8; 4; 0; 6; 2; 8
199 | ACT-CWP5 | CHILLED W PUMP SEKUNDER 5 | CP-15 | bar: 1 to 2
200 | ACT-CWP6 | CHILLED W PUMP SEKUNDER 6 | CP-15 | bar: 1 to 2
201 | ACT-CWPS6 | CHILLED W PUMP SEKUNDER ST BY 6 | CP-15 | bar: 1 to 2
202 | AC-023 | CHILLED W PUMP SEKUNDER 7 | CP-15 | bar: 7; 3; 9; 5; 1; 7; 3; 9
203 | AC-024 | CHILLED W PUMP SEKUNDER ST BY 7 | CP-15 | bar: 7; 3; 9; 5; 1; 7; 3; 9
204 |  | CHILLED WATER PUMP PRIMER 3 | GF | bar: 1; 5; 0; 5; 0; 5; 0; 5; 0; 5; 0
205 |  | CHILLED WATER PUMP PRIMER 4 | GF | bar: 2; 6; 1; 6; 1; 6; 1; 6; 1; 6; 1
206 |  | CHILLED WATER PUMP ST BY 3-4 | GF | bar: 3; 7; 2; 7; 2; 7; 2; 7; 2; 7; 2
207 | AC-025 | PRV CHILLER LT. P13 | CP-13 | bar: 1; 3; 5; 7; 9; 1; 3; 5; 7; 9; 1; 3; 5; 7; 9; 1; 3; 5; 7; 9; 1; 3; 5; 7; 9; 1
208 | ACT-PRV12 | PRV CHILLER 1-2 LT. GF | CP12-GF | bar: 2; 4; 6; 8; 0; 2; 4; 6; 8; 0; 2; 4; 6; 8; 0; 2; 4; 6; 8; 0; 2; 4; 6; 8; 0; 2
209 | ACT-PRV35 | PRV CHILLER 3-5 LT. GF | CP35-GF | bar: 1 to 2
210 |  | AHU / FCU LT.35-37 | MN-35 | bar: 2; 5; 8; 0
211 | AC-028 | AHU/FCU LT. 32 - LT. 33 | MN-32 | bar: 1; 4; 7; 9
212 | AC-029 | AHU/FCU LT. 30 - LT. 31 | MN-30 | bar: 2; 8
213 | AC-030 | AHU/FCU LT. 28 - LT. 29 | MN-28 | bar: 3; 9
214 | AC-031 | AHU/FCU LT. 26 - LT. 27 | MN-26 | bar: 4; 0
215 | AC-032 | AHU/FCU LT. 23 - LT. 25 | MN-23 | bar: 5; 1
216 | AC-033 | AHU/FCU LT. 21 - LT. 22 | MN-21 | bar: 6; 2
217 | AC-034 | AHU/FCU LT. 19 - LT. 20 | MN-19 | bar: 7; 3
218 | AC-035 | AHU/FCU LT. 17 - LT. 18 | MN-17 | bar: 8; 4
219 | AC-036 | AHU/FCU LT. 15 - LT. 16 | MN-15 | bar: 9; 5
220 | AC-037 | AHU/FCU LT. 12 - LT. 12X | MN-12 | bar: 0; 6
221 | AC-038 | AHU/FCU LT. 10 - LT. 11 | MN-10 | bar: 1; 7
222 | AC-039 | AHU/FCU LT. 6 - LT. 9 | MN-08 | bar: 1 to 2
223 | AC-040 | AHU/FCU LT. P11, P7, P3,P12 | MN-P11 | bar: 3; 9
224 | AC-041 | AHU/FCU LT. MZ,GR | MN-MZ | bar: 4; 0
225 | AC-042 | AHU/FCU LT.P 12 RUANG SERBAGUNA | MN-GR | bar: 5; 1
226 | AC-043 | FCU RUANG MESIN LIFT NO.12,13 | LG-4 | bar: 6; 2
227 | AC-044 | FCU RUANG MESIN LIFT NO.1-4 | 23,25 | bar: 7; 3
228 | AC-045 | FCU RUANG MESIN LIFT NO.5-8 | 38 | bar: 8; 4
229 | AC-046 | FCU RUANG MESIN LIFT NO.9-11 | 38 | bar: 9; 5
230 | AC-043 | FCU NO. 1 - 10 | MN-LG | bar: 6; 2
231 | AC-044 | FCU NO. 11 - 20 | MN-LG | bar: 7; 3
232 | AC-045 | FCU NO. 21 - 30 | MN-LG | bar: 8; 4
233 | AC-046 | FCU NO. 31 - 40 | MN-LG | bar: 9; 5
234 | AC-047 | FCU NO. 41 - 50 | MN-LG | bar: 0; 6
235 | AC-048 | FCU NO. 51 - 60 | MN-LG | bar: 1; 7
236 | AC-049 | FCU NO. 61 - 70 | MN-LG | bar: 2; 8
237 | AC-050 | FCU NO. 71 - 80 | MN-LG | bar: 3; 9
238 | AC-051 | FCU LG4, LT. 25, LT. 37 (LIFT) | MN-LG | bar: 4; 0
239 | AC-052 | AC SPLIT, WINDOW LT. P1 | MN-LG4 | bar: 5; 1
240 | AC-053 | AC SPLIT LT. P8 | MN-P8 | bar: 6; 2
241 | AC-054 | AC SPLIT LG 1, MDF, GF | MN-LG | bar: 7
242 | EA-001 | IF-LG4-16 HOUSEKEEPING | LG-4 | bar: 4; 6
243 | EA-005 | EF-LG4-01 PLN | LG-4 | bar: 1; 9
244 | EA-006 | EF-LG4-12-1A PUMP ROOM | LG-4 | bar: 1; 9
245 | EA-007 | EF-LG4-03 TRANSFORMER | LG-4 | bar: 1; 9
246 | EA-009 | IF-LGR-01 RETAIL | LG | bar: 3; 1
247 | EA-016 | IF-LGR-02 RETAIL | LG | bar: 5; 5
248 | EA-017 | EF PANTRY P8 | MN-03 | bar: 5; 5
249 | EA-029 | PF-6-1A | MN-06 | bar: 6; 2
250 | EA-030 | EF-8T1 | MN-08 | bar: 1; 9
251 | EA-032 | EF-12T1 | MN-12 | bar: 9; 8
252 | EA-033 | EF-15T1 | MN-15 | bar: 3; 1
253 | EA-035 | EF-19T1 | MN-19 | bar: 1; 9
254 | EA-037 | EF-26T1 | MN-26 | bar: 5; 3
255 | EA-038 | EF-28T1 | MN-28 | bar: 9; 7
256 | EA-039 | EF-31T1 | MN-31
257 | EA-043 | PF-R1 | ROOF | bar: 5; 3
258 | EA-044 | FAF-R1 SILENCE | ROOF | bar: 5; 3
259 | EA-045 | EF-R3+SILENCE | ROOF | bar: 5; 3
260 | EA-046 | EF-B1-05 CORRIDOR LG-19 | LG-4 | bar: 5; 3
261 | EA-047 | PF-R2 | ROOF | bar: 5; 3
262 | EA-048 | FAF-R2 SILENCE | ROOF | bar: 5; 3
263 | EA-049 | IF-LG4-01 MV ROOM | LG 4 | bar: 1; 0
264 | EA-050 | EF-LGR-03 RETAIL | LG | bar: 1; 0
265 | EA-051 | EF-LGR-04 RETAIL | LG | bar: 1; 0
266 | EA-053 | IF-LG4-1 | LG-4 | bar: 5; 0
267 | EA-054 | IF-LG4-2 | LG-4 | bar: 5; 0
268 | EA-055 | IF-LG4-3 | LG-4 | bar: 5; 0
269 | EA-056 | IF-LG4-4 | LG-4 | bar: 5; 0
270 | EA-057 | IF-LG4-5 | LG-4 | bar: 5; 0
271 | EA-058 | IF-LG4-6 | LG-4 | bar: 5; 0
272 | EA-059 | IF-LG4-7 | LG-4 | bar: 5; 8
273 | EA-060 | IF-LG4-8 | LG-4 | bar: 5; 8
274 | EA-061 | EF-LG4-1 TR ROOM | LG-4 | bar: 5; 8
275 | EA-062 | EF-LG4-2 TR ROOM | LG-4 | bar: 5; 8
276 | EA-063 | EF-LG4-4 TR ROOM | LG-4 | bar: 5; 8
277 | EA-064 | EF-LG4-5 TR ROOM | LG-4 | bar: 5; 8
278 | EA-065 | EF-LG4-6 TR ROOM | LG-4 | bar: 5; 8
279 | EA-066 | EF-LG4-7 TR ROOM | LG-4 | bar: 5; 8
280 | EA-075 | IF-3-1 | MN-03 | bar: 0; 2
281 | EA-076 | IF-3-2 | MN-03 | bar: 0; 2
282 | EA-077 | IF-3-3 | MN-03 | bar: 0; 2
283 | EA-078 | IF-3-4 | MN-03 | bar: 0; 2
284 | EA-079 | IF-3-5 | MN-03 | bar: 2; 2
285 | EA-080 | IF-3-6 | MN-03 | bar: 2; 2
286 | EA-081 | IF-3-7 | MN-03 | bar: 2; 2
287 | EA-082 | EF-3-7 | MN-03 | bar: 1; 4
288 | EA-083 | EF-3-8 | MN-03 | bar: 1; 4
289 | EA-084 | EF-3-9 | MN-03 | bar: 1; 4
290 | EA-085 | EF-3-10 | MN-03 | bar: 1; 4
291 | EA-086 | EF-3-11 | MN-03 | bar: 1; 4
292 | EA-087 | EF-3-12 | MN-03 | bar: 1; 4
293 | EA-088 | EF-3-13 | MN-03 | bar: 1; 4
294 | EA-089 | EF-3-14 | MN-03 | bar: 1; 4
295 | EA-101 | PF-6.1B LEVEL 6 | MN-06 | bar: 1; 0
296 | EA-102 | EF-8-T2 TENANT 2 | MN-08 | bar: 1; 0
297 | EA-103 | EF-8-T3 TENANT 3 | MN-08 | bar: 2; 1
298 | EA-104 | EF-8-T4 TENANT 4 | MN-08 | bar: 2; 1
299 | EA-105 | EF-9-T1 TENANT 1 | MN-09 | bar: 3; 2
300 | EA-106 | EF-9-T2 TENANT 2 | MN-09 | bar: 3; 2
301 | EA-107 | EF-9-T3 TENANT 3 | MN-09 | bar: 4; 2
302 | EA-108 | EF-9-T4 TENANT 4 | MN-09 | bar: 4; 2
303 | EA-109 | EF-10-T1 TENANT 1 | MN-10 | bar: 5; 4
304 | EA-110 | EF-10-T2 TENANT 2 | MN-10 | bar: 5; 4
305 | EA-111 | EF-10-T3 TENANT 3 | MN-10 | bar: 5; 5
306 | EA-112 | EF-10-T4 TENANT 4 | MN-10 | bar: 5; 5
307 | EA-113 | EF-11-T1 TENANT 1 | MN-11 | bar: 7; 6
308 | EA-114 | EF-11-T2 TENANT 2 | MN-11 | bar: 7; 6
309 | EA-115 | EF-11-T3 TENANT 3 | MN-11 | bar: 8; 7
310 | EA-116 | EF-11-T4 TENANT 4 | MN-11 | bar: 8; 7
311 | EA-117 | EF-12-T2 TENANT 2 | MN-12 | bar: 9; 8
312 | EA-118 | EF-12-T3 TENANT 3 | MN-12 | bar: 0; 9
313 | EA-119 | EF-12-T4 TENANT 4 | MN-12 | bar: 0; 9
314 | EA-120 | EF-12X-T1 TENANT 1 | MN-12X | bar: 1; 0
315 | EA-121 | EF-12X-T2 TENANT 2 | MN-12X | bar: 1; 0
316 | EA-122 | EF-12X-T3 TENANT 3 | MN-12X | bar: 1; 1
317 | EA-123 | EF-12X-T4 TENANT 4 | MN-12X | bar: 1; 1
318 | EA-124 | EF-15-T2 TENANT 2 | MN-15 | bar: 3; 2
319 | EA-125 | EF-15-T3 TENANT 3 | MN-15 | bar: 4; 3
320 | EA-126 | EF-15-T4 TENANT 4 | MN-15 | bar: 4; 3
321 | EA-127 | EF-16-T1 TENANT 1 | MN-16 | bar: 4; 2
322 | EA-128 | EF-16-T2 TENANT 2 | MN-16 | bar: 4; 2
323 | EA-129 | EF-16-T3 TENANT 3 | MN-16 | bar: 6; 4
324 | EA-130 | EF-16-T4 TENANT 4 | MN-16 | bar: 6; 4
325 | EA-131 | EF-17-T1 TENANT 1 | MN-17 | bar: 7; 5
326 | EA-132 | EF-17-T2 TENANT 2 | MN-17 | bar: 7; 5
327 | EA-133 | EF-17-T3 TENANT 3 | MN-17 | bar: 8; 6
328 | EA-134 | EF-17-T4 TENANT 4 | MN-17 | bar: 8; 6
329 | EA-135 | EF-18-T1 TENANT 1 | MN-18 | bar: 9; 7
330 | EA-136 | EF-18-T2 TENANT 2 | MN-18 | bar: 9; 7
331 | EA-137 | EF-18-T3 TENANT 3 | MN-18 | bar: 0; 8
332 | EA-138 | EF-18-T4 TENANT 4 | MN-18 | bar: 0; 8
333 | EA-139 | EF-19-T2 TENANT 2 | MN-19 | bar: 1; 9
334 | EA-140 | EF-19-T3 TENANT 3 | MN-19 | bar: 2; 0
335 | EA-141 | EF-19-T4 TENANT 4 | MN-19 | bar: 2; 0
336 | EA-142 | EF-20-T1 TENANT 1 | MN-20 | bar: 3; 1
337 | EA-143 | EF-20-T2 TENANT 2 | MN-20 | bar: 3; 1
338 | EA-144 | EF-20-T3 TENANT 3 | MN-20 | bar: 4; 2
339 | EA-145 | EF-20-T4 TENANT 4 | MN-20 | bar: 4; 2
340 | EA-149 | EF-22-T1 TENANT 1 | MN-22 | bar: 1; 9
341 | EA-150 | EF-22-T2 TENANT 2 | MN-22 | bar: 1; 9
342 | EA-151 | EF-22-T3 TENANT 3 | MN-22 | bar: 1; 0
343 | EA-152 | EF-22-T4 TENANT 4 | MN-22 | bar: 1; 0
344 | EA-153 | EF-23-T1 TENANT 1 | MN-23 | bar: 3; 1
345 | EA-154 | EF-23-T2 TENANT 2 | MN-23 | bar: 3; 1
346 | EA-155 | EF-23-T3 TENANT 3 | MN-23 | bar: 4; 2
347 | EA-156 | EF-23-T4 TENANT 4 | MN-23 | bar: 4; 2
348 | EA-161 | EF-26-T2 TENANT 2 | MN-26 | bar: 5; 3
349 | EA-162 | EF-26-T3 TENANT 3 | MN-26 | bar: 6; 4
350 | EA-163 | EF-26-T4 TENANT 4 | MN-26 | bar: 6; 4
351 | EA-164 | EF-27-T1 TENANT 1 | MN-27 | bar: 7; 5
352 | EA-165 | EF-27-T2 TENANT 2 | MN-27 | bar: 7; 5
353 | EA-166 | EF-27-T3 TENANT 3 | MN-27 | bar: 8; 6
354 | EA-167 | EF-27-T4 TENANT 4 | MN-27 | bar: 8; 6
355 | EA-168 | EF-28-T2 TENANT 2 | MN-28 | bar: 9; 7
356 | EA-169 | EF-28-T3 TENANT 3 | MN-28 | bar: 0; 8
357 | EA-170 | EF-28-T4 TENANT 4 | MN-28 | bar: 0; 8
358 | EA-174 | EF-30-T1 TENANT 1 | MN-30 | bar: 1; 9
359 | EA-175 | EF-30-T2 TENANT 2 | MN-30 | bar: 1; 9
360 | EA-176 | EF-30-T3 TENANT 3 | MN-30 | bar: 1; 0
361 | EA-177 | EF-30-T4 TENANT 4 | MN-30 | bar: 1; 0
362 | EA-178 | EF-31-T2 TENANT 2 | MN-31 | bar: 3; 2
363 | EA-179 | EF-31-T3 TENANT 3 | MN-31 | bar: 4; 2
364 | EA-180 | EF-31-T4 TENANT 4 | MN-31 | bar: 4; 2
365 | EA-181 | EF-32-T1 TENANT 1 | MN-32 | bar: 5; 3
366 | EA-182 | EF-32-T2 TENANT 2 | MN-32 | bar: 5; 3
367 | EA-183 | EF-32-T3 TENANT 3 | MN-32 | bar: 6; 4
368 | EA-184 | EF-32-T4 TENANT 4 | MN-32 | bar: 6; 4
369 | EA-185 | EF-33-T2 TENANT 1 | MN-33 | bar: 7; 5
370 | EA-186 | EF-33-T3 TENANT 2 | MN-33 | bar: 7; 5
371 | EA-187 | EF-33-T4 TENANT 3 | MN-33 | bar: 8; 6
372 | EA-187 | EF-33-T4 TENANT 4 | MN-33 | bar: 8; 6
373 | EA-188 | EF - BBM NO.1 | LG-4 | bar: 9; 6
374 | EA-189 | EF - BBM NO.2 | LG-4 | bar: 9; 6
375 | EA-192 | EF - PPMI | CP-8 | bar: 8; 4
376 | PL-001 | RAW WATER TANK 183 m3 | LG-4 | bar: 6; 2
377 | PL-002 | DOMESTIC WATER TANK 229 m3 | LG-4 | bar: 7; 3
378 | PL-003 | DOMESTIC WATER PUMP 1 | LG-4 | bar: 4; 2; 0; 8; 6; 4
379 | PL-004 | DOMESTIC WATER PUMP 2 | LG-4 | bar: 5; 3; 1; 9; 7; 5
380 | PL-007 | DOMESTIC WATER FILTERING PUMP 1 | LG-4 | bar: 8; 6; 4; 2; 0; 8
381 | PL-008 | DOMESTIC WATER FILTERING PUMP 2 | LG-4 | bar: 9; 7; 5; 3; 1; 9
382 | PL-009 | FILTERATION 4 UNIT | LG-4 | bar: 0; 8; 6; 4; 2; 0
383 | PL-010 | ROOF TANK 1 31,5 m3 | ROOF | bar: 1; 7; 3
384 | PL-011 | ROOF TANK 2 31,5 m3 | ROOF | bar: 2; 8; 4
385 | PL-012 | PDAM | LG-4 | bar: 6; 3; 1; 9; 7; 5
386 | PL-013 | DEEPWELL | LG-4 | bar: 7; 4; 2; 0; 8; 6
387 | PL-014 | TOILET LT. 33, 32, 31 | MN-33 | bar: 8; 5; 3; 1; 9; 7
388 | PL-015 | TOILET LT. 30, 29, 28 | MN-30 | bar: 9; 6; 4; 2; 0; 8
389 | PL-016 | TOILET LT. 27, 26, 25 | MN-27 | bar: 0; 7; 5; 3; 1; 9
390 | PL-017 | PRV 1, LT. 27 | MN-27 | bar: 1; 8; 6; 4; 2; 0
391 | PL-018 | TOILET LT. 23,22,21,20 | MN-23 | bar: 2; 9; 7; 5; 3; 1
392 | PL-019 | PRV 2, LT. 20 | MN-20 | bar: 3; 0; 8; 6; 4; 2
393 | PL-020 | TOILET LT. 19,18,17,16 | MN-19 | bar: 7; 4; 1; 9; 7; 5
394 | PL-021 | TOILET LT. 15,12X,12,11 | MN-15 | bar: 8; 5; 2; 0; 8; 6
395 | PL-022 | PRV 3, LT. 12X | MN-12X | bar: 9; 6; 3; 1; 9; 7
396 | PL-023 | TOILET LT. 10,9,8 | MN-10 | bar: 0; 7; 4; 2; 0; 8
397 | PL-024 | PRV 4, LT. 7 | MN-07 | bar: 1; 8; 5; 3; 1; 9
398 | PL-025 | TOILET LT. 6,5,4,3 | CP-1 | bar: 2; 9; 6; 4; 2; 0
399 | PL-026 | PRV 5, GR | MN-GR | bar: 3; 0; 7; 5; 3; 1
400 | PL-027 | TOILET LG, MZ | MN-GR | bar: 1; 0; 0; 9; 8; 6
401 | PL-028 | SUMP PUMP 1A | LG-4 | bar: 2; 1; 1; 0; 9; 7
402 | PL-030 | SUMP PUMP 3A | LG-4 | bar: 6; 5; 5; 4; 3; 1
403 | PL-031 | SUMP PUMP 4A | LG-4 | bar: 8; 7; 7; 6; 5
404 | PL-032 | SUMP PUMP 5A | LG-4 | bar: 9; 8; 8; 7; 6
405 | PL-033 | SUMP PUMP 6A | LG-4 | bar: 1; 0; 0; 9; 8
406 | PL-034 | SUMP PUMP 7A | LG-4 | bar: 3; 2; 2; 1; 0
407 | PL-035 | SUMP PUMP 8A | LG-4 | bar: 5; 4; 4; 3; 2
408 | PL-036 | SUMP PUMP 9A | LG-4 | bar: 7; 6; 6; 5
409 | PL-037 | SUMP PUMP 10A | LG-4 | bar: 9; 8; 8; 7
410 | PL-037 | SUMP PUMP 10B | LG-4 | bar: 0; 9; 9; 8
411 | PL-038 | PAH, RDRAIN 18 UNIT | ROOF | bar: 1; 8; 5
412 | PL-038 | PAH, RD 16 UNIT | MN-37 | bar: 2; 9; 6
413 | PL-039 | PAH, RDRAIN 6 UNIT | MN-08 | bar: 3; 0; 7
414 | PL-040 | PAH, RDRAIN 3 UNIT | MN-08 | bar: 4; 1; 8
415 | PL-041 | PAH, FDRAIN LG-4 - CP15 | LG-4 | bar: 5; 2; 9
416 | PL-042 | PAH, FDRAIN CP6 - CP15 | CP-6 | bar: 6; 3; 0
417 | PL-043 | FRP, SEWAGE COLLECTION TANK I | LG-4 | bar: 1; 5; 7; 9; 3; 7; 1; 4 to 5; 9; 3; 7; 1; 5; 9
418 | PL-048 | PAH, RDRAIN 4 UNIT | MN-29 | bar: 9; 6; 3
419 | PL-049 | PAH, RDRAIN 11 UNIT | MN-08 | bar: 0; 7; 4
420 | PL-050 | PAH, RD 21 UNIT | MN-35 | bar: 1; 8; 5
421 | PL-052 | WATER PITCHER PUMP 1 | MN-GR | bar: 2; 9; 6
422 | PL-053 | WATER PITCHER PUMP 2 | MN-GR | bar: 3; 0; 7
423 | PL-054 | WATER FALL PUMP 1 | MN-GR | bar: 4; 1; 8
424 | PL-055 | WATER FALL PUMP 2 | MN-GR | bar: 5; 2; 9
425 | ACS-FB | FLAPP BARRIER | ACS-GF | bar: 1 to 2
426 | ACS-01 | DOOR LOCK + ACCES CARD SYS. LG2 | ACS-LG2U | bar: 1 to 2
427 | ACS-02 | DOOR LOCK + ACCES CARD SYS. LG2 | ACS-LG2S | bar: 1 to 2
428 | ACS-03 | DOOR LOCK + ACCES CARD SYS. P8 | ACS-P8U | bar: 1 to 2
429 | ACS-04 | DOOR LOCK + ACCES CARD SYS. P8 | ACS-P8S | bar: 1 to 2
430 | ACS-05 | DOOR LOCK + ACCES CARD SYS. MZ - Lt. 7 | ACS-EX | bar: 1 to 2
431 | ACS-06 | DOOR LOCK + ACCES CARD SYS. Lt. 8 - Lt. 17 | ACS-EX | bar: 1 to 2
432 | ACS-07 | DOOR LOCK + ACCES CARD SYS. Lt. 18 - Lt. 27 | ACS-EX | bar: 1 to 2
433 | ACS-08 | DOOR LOCK + ACCES CARD SYS. Lt. 28 - Lt. 36 | ACS-EX | bar: 1 to 2
434 | VT-001 | ELEVATOR 1 + ACCES CARD SYSTEM | MN-LZ | bar: 1 to 2
435 | VT-002 | ELEVATOR 2 + ACCES CARD SYSTEM | MN-LZ | bar: 1 to 2
436 | VT-003 | ELEVATOR 3 + ACCES CARD SYSTEM | MN-LZ | bar: 1 to 2
437 | VT-004 | ELEVATOR 4 + ACCES CARD SYSTEM | MN-LZ | bar: 1 to 2
438 | VT-005 | ELEVATOR 5 + ACCES CARD SYSTEM | MN-HZ | bar: 1 to 2
439 | VT-006 | ELEVATOR 6 + ACCES CARD SYSTEM | MN-HZ | bar: 1 to 2
440 | VT-007 | ELEVATOR 7 + ACCES CARD SYSTEM | MN-HZ | bar: 1 to 2
441 | VT-008 | ELEVATOR 8 + ACCES CARD SYSTEM | MN-HZ | bar: 1 to 2
442 | VT-009 | ELEVATOR 9 + ACCES CARD SYSTEM | MN-EX | bar: 1 to 2
443 | VT-010 | ELEVATOR 10 | MN-RS | bar: 1; 3; 5; 7; 9; 1; 4; 6; 8; 0; 2; 4; 7; 9; 1; 3; 6; 8; 1; 3; 5; 7; 9; 1
444 | VT-011 | ELEVATOR 11 + ACCES CARD SYSTEM | MN-SR | bar: 1 to 2
445 | VT-012 | ELEVATOR 12 | LG-4 | bar: 1; 3; 5; 7; 9; 1; 4; 6; 8; 0; 2; 4; 7; 9; 1; 3; 6; 8; 1; 3; 5; 7; 9; 1
446 | VT-013 | ELEVATOR 13 | LG-4 | bar: 1; 3; 5; 7; 9; 1; 4; 6; 8; 0; 2; 4; 7; 9; 1; 3; 6; 8; 1; 3; 5; 7; 9; 1
447 | VT-014 | GONDOLA 1 | LG-4 | bar: 4; 7; 9; 1; 3 to 4; 6; 8 to 0; 2 to 3; 5; 7 to 9; 1; 3 to 4; 6 to 8; 1; 3 to 4; 6; 9; 1 to 2
448 | VT-016 | GONDOLA 2 | LG-4 | bar: 2; 5; 8; 1; 4; 7; 0; 3; 6; 9; 2; 5; 8; 1; 4; 7; 0
449 | VT-017 | GONDOLA 3 | LG-4 | bar: 3; 6; 9; 2; 5; 8; 1; 4; 7; 0; 3; 6; 9; 2; 5; 8; 1
450 | VT-019 | GONDOLA 5 | LG-4 | bar: 4; 7; 0; 3; 6; 9; 2; 5; 8; 1; 4; 7; 0; 3; 6; 9; 2
451 | FF-001 | DOMESTIC WATER TANK | LG-4 | bar: 6; 2
452 | FF-002 | JOCKY HYD PUMP | LG-4 | bar: 7; 3
453 | FF-003 | ELECT HYD PUMP | LG-4 | bar: 8; 4
454 | FF-004 | DIESEL HYD PUMP | LG-4 | bar: 9; 5
455 | FF-005 | PRV SP | LG-4 | bar: 0; 6
456 | FF-007 | JOCKY SP PUMP | LG-4 | bar: 1; 7
457 | FF-008 | ELECT SP PUMP | LG-4 | bar: 2; 8
458 | FF-009 | DIESEL SP PUMP | LG-4 | bar: 3; 9
459 | FF-010 | PRV SP1 LANTAI B - P 14 | LG-4 | bar: 4; 0
460 | FF-011 | PRV SP2 LANTAI LG - LT.9 | LG-4 | bar: 5; 1
461 | FF-012 | PRV SP3 LANTAI 10 - 15 | LG-4 | bar: 6; 2
462 | FF-013 | PRV SP4 LANTAI 16 - 25 | LG-4 | bar: 7; 3
463 | FF-014 | SIAMESSE CONNECTION | MN-GR | bar: 5; 1
464 | FF-015 | FIRE FIGHTING EQ. LG-4 | LG-4 | bar: 4; 0
465 | FF-016 | FIRE FIGHTING EQ. LG-3 | LG-3 | bar: 3; 9
466 | FF-017 | FIRE FIGHTING EQ. LG-2 | LG-2 | bar: 3; 9
467 | FF-018 | FIRE FIGHTING EQ. LG1 | LG-1 | bar: 2; 8
468 | FF-019 | FIRE FIGHTING EQ. GF | GF | bar: 2; 8
469 | FF-020 | FIRE FIGHTING EQ. P1 | CP-1 | bar: 1; 7
470 | FF-021 | FIRE FIGHTING EQ. P2 | CP-2 | bar: 1; 7
471 | FF-022 | FIRE FIGHTING EQ. P3 | CP-3 | bar: 0; 6
472 | FF-023 | FIRE FIGHTING EQ. P4 | CP-4 | bar: 0; 6
473 | FF-024 | FIRE FIGHTING EQ. P5 | CP-5 | bar: 9; 5
474 | FF-025 | FIRE FIGHTING EQ. P6 | CP-6 | bar: 9; 5
475 | FF-026 | FIRE FIGHTING EQ. P7 | CP-7 | bar: 8; 4
476 | FF-027 | FIRE FIGHTING EQ. P8 | CP-8 | bar: 8; 4
477 | FF-028 | FIRE FIGHTING EQ. P9 | CP-9 | bar: 7; 3
478 | FF-029 | FIRE FIGHTING EQ. P10 | CP-10 | bar: 7; 3
479 | FF-030 | FIRE FIGHTING EQ. P11 | CP-11 | bar: 6; 2
480 | FF-031 | FIRE FIGHTING EQ. P12 | CP-12 | bar: 6; 2
481 | FF-032 | FIRE FIGHTING EQ. P13 | CP-13 | bar: 5; 1
482 | FF-033 | FIRE FIGHTING EQ. P14 | CP-14 | bar: 5; 1
483 | FF-034 | FIRE FIGHTING EQ. LG | LG | bar: 5; 1
484 | FF-035 | FIRE FIGHTING EQ. GF | MN-GR | bar: 4; 0
485 | FF-036 | FIRE FIGHTING EQ MEZANINE | MN-MZ | bar: 4; 0
486 | FF-037 | FIRE FIGHTING EQ LT. 7+8 | MN-07 | bar: 3; 9
487 | FF-038 | FIRE FIGHTING EQ LT. 9+10 | MN-09 | bar: 2; 8
488 | FF-039 | FIRE FIGHTING EQ LT. 11+12 | MN-11 | bar: 1; 7
489 | FF-040 | FIRE FIGHTING EQ LT. 12X+15 | MN-12X | bar: 0; 6
490 | FF-041 | FIRE FIGHTING EQ LT. 16+17 | MN-16 | bar: 9; 5
491 | FF-042 | FIRE FIGHTING EQ LT. 18+19+20 | MN-18 | bar: 8; 4
492 | FF-043 | FIRE FIGHTING EQ LT. 21+22 | MN-21 | bar: 7; 3
493 | FF-044 | FIRE FIGHTING EQ LT. 23+25 | MN-23 | bar: 6; 2
494 | FF-045 | FIRE FIGHTING EQ LT. 26+27 | MN-26 | bar: 5; 1
495 | FF-046 | FIRE FIGHTING EQ LT. 28+29 | MN-28 | bar: 4; 0
496 | FF-047 | FIRE FIGHTING EQ LT. 30+31 | MN-30 | bar: 3; 9
497 | FF-048 | FIRE FIGHTING EQ LT. 32+33 | MN-32 | bar: 2; 8
498 | FF-049 | FIRE FIGHTING EQ LT. 35+36 | MN-35 | bar: 1; 7
499 | FF-050 | FIRE FIGHTING EQ LT. 37+38 | MN-32 | bar: 1; 6
500 | FF-051 | BATTERY DIESEL SP PUMP | LG-4 | bar: 1; 0; 9; 8; 7; 6
501 | FF-052 | BATTERY DIESEL HYD PUMP | LG-4 | bar: 2; 1; 0; 9; 8; 7
502 | FF-053 | PRV HYDRANT 6 LT. P17 | CP-12 | bar: 3; 2; 1; 0; 9; 8
503 | FF-054 | PRV HYDRANT 5 LT. 11 | MN-11 | bar: 4; 3; 2; 1; 0; 9
504 | FF-055 | PRV HYDRANT 4 LT. 18 | MN-18 | bar: 5; 4; 3; 2; 1; 0
505 | FF-056 | PRV HYDRANT 3 LT. 25 | MN-25 | bar: 6; 5; 4; 3; 2 to 3; 1
506 | FF-057 | PRV HYDRANT 2 LT. 31 | MN-31 | bar: 7; 6; 5; 4; 3; 2
507 | FF-058 | PRV HYDRANT 1 LT. 37 | MN-37 | bar: 8; 7; 6; 5; 4
508 | FF-059 | RESTAURANT SANITARY LG-3A | LG-3A | bar: 9; 8; 7; 6; 5
509 | FF-060 | RESTAURANT SANITARY LG-14 | LG-14 | bar: 0; 9; 8; 7; 6
510 | FF-061 | RESTAURANT SANITARY LG-17 | LG-17 | bar: 1; 0; 9; 8; 7
511 | FF-062 | RESTAURANT SANITARY LG-18 | LG-18 | bar: 2; 1; 0; 9; 8
512 | FF-064 | RESTAURANT SANITARY LG-23 | LG-23 | bar: 4; 3; 2; 1; 0
513 | FF-066 | RESTAURANT SANITARY LG-7 | LG-7 | bar: 6; 5; 4; 3; 2
514 | ME-001 | GENSET 1 | LG-4 | bar: 3; 9; 8; 7; 6
515 | ME-002 | GENSET 2 | LG-4 | bar: 4; 0; 9; 8; 7
516 | ME-003 | GENSET 3 | LG-4 | bar: 5; 1; 0; 9; 8
517 | ME-004 | GENSET 4 | LG-4 | bar: 6; 2; 1; 0; 9
518 | ME-005 | FUEL TANK (M) | LG-4 | bar: 7; 3; 2; 1; 0
519 | ME-006 | FUEL TANK (D) | LG-4 | bar: 8; 4; 3; 2; 1
520 | ME-007 | FUEL PUMP 1 | LG-4 | bar: 9; 5; 4; 3; 2
521 | ME-008 | FUEL PUMP 2 | LG-4 | bar: 1; 0; 0; 9; 8; 7
522 | ME-009 | FUEL FILTER DAILY TANK | LG-4 | bar: 2; 1; 1; 0; 9; 8
523 | ME-010 | INTAKE FAN 1 | LG-4 | bar: 3; 2; 2; 1; 0; 9
524 | ME-011 | INTAKE FAN 2 | LG-4 | bar: 4; 3; 3; 2; 1; 0
525 | ME-012 | INTAKE FAN 3 | LG-4 | bar: 5; 4; 4; 3; 2; 1
526 | ME-013 | INTAKE FAN 4 | LG-4 | bar: 6; 5; 5; 4; 3; 2
527 | ME-014 | EXHAUST FAN 1 | LG-4 | bar: 7; 6; 6; 5; 4
528 | ME-015 | EXHAUST FAN 2 | LG-4 | bar: 8; 7; 7; 6; 5
529 | ME-016 | EXHAUST FAN 3 | LG-4 | bar: 9; 8; 8; 7; 6
530 | ME-017 | EXHAUST FAN 4 | LG-4 | bar: 1; 0; 9; 9; 8; 7
531 | ME-018 | BATTERY (ALL) 16 UNIT | LG-4 | bar: 2; 1; 0; 0; 9; 8
532 | ME-019 | BENCH GRINDING MACHINE | LG-4 | bar: 3; 2; 1; 1; 0; 9
533 | ME-020 | BENCH DRILLING MACHINE | LG-4 | bar: 4; 3; 2; 2; 1; 0
534 | ME-021 | COMPRESSOR | LG-4 | bar: 5; 4; 3; 3; 2; 1
535 | ME-022 | BATTERY MVMDP + CHARGER | LG-4 | bar: 6; 5; 4; 4; 3; 2
536 | ME-023 | WELDING MACHINE | LG-4 | bar: 7; 6; 5; 5; 4
537 | ME-024 | POMPA SIRKULASI "KARCHER" | LG-4 | bar: 8; 7; 6; 6; 5
538 | CI-001 | CAR PARK LG-4 | LG-4 | bar: 9; 8; 6
539 | CI-002 | CAR PARK LG-3-LG2 | LG-3 | bar: 0; 7
540 | CI-003 | CAR PARK LG1-GF | LG-1 | bar: 1; 8
541 | CI-004 | CAR PARK P1-P2 | CP-1 | bar: 2; 9
542 | CI-005 | CAR PARK P3-P4 | CP-3 | bar: 3; 0
543 | CI-006 | CAR PARK P5-P6 | CP-5 | bar: 4; 1
544 | CI-007 | CAR PARK P7-P8 | CP-7 | bar: 5; 2
545 | CI-008 | CAR PARK P9-P10 | CP-9 | bar: 6; 3
546 | CI-009 | CAR PARK P11-P12 | CP-11 | bar: 7; 4
547 | CI-010 | CAR PARK P13-P14 | CP-13 | bar: 8; 5
548 | CI-011 | CAR PARK P15 | CP-15 | bar: 9; 6
549 | CI-012 | MENARA IMPERIUM LT. 8+9 | MN-08 | bar: 1; 4; 7; 9
550 | CI-013 | MENARA IMPERIUM LT. 10+11 | MN-10 | bar: 2; 5; 8; 0
551 | CI-014 | MENARA IMPERIUM LT. 12+12X | MN-12 | bar: 3; 6; 9; 1
552 | CI-015 | MENARA IMPERIUM LT. 15+16 | MN-15 | bar: 4; 7; 0; 2
553 | CI-016 | MENARA IMPERIUM LT. 17+18 | MN-17 | bar: 5; 8; 1; 3
554 | CI-017 | MENARA IMPERIUM LT. 19+20 | MN-19 | bar: 6; 9; 2; 4
555 | CI-018 | MENARA IMPERIUM LT. 21+22 | MN-21 | bar: 7; 0; 3; 5
556 | CI-019 | MENARA IMPERIUM LT. 23+25 | MN-23 | bar: 8; 1; 4; 6
557 | CI-020 | MENARA IMPERIUM LT. 26+27 | MN-26 | bar: 9; 2; 5; 7
558 | CI-021 | MENARA IMPERIUM LT. 28+29 | MN-28 | bar: 0; 3; 6; 8
559 | CI-022 | MENARA IMPERIUM LT. 30+31 | MN-30 | bar: 1; 4; 7; 9
560 | CI-023 | MENARA IMPERIUM LT. 32+33 | MN-32 | bar: 2; 5; 8; 0
561 | CI-024 | MENARA IMPERIUM LT. 35+36 | MN-35 | bar: 3; 6; 9; 1
562 | CI-025 | MENARA IMPERIUM LT. 37+38 (ROOF) | MN-37 | bar: 4; 7; 0; 2
563 | CI-026 | GROUND FLOOR | MN-GR | bar: 2; 5; 8; 1
564 | CI-027 | LOWER GROUND | LG | bar: 3; 6; 9; 2
565 | CI-028 | MEZZANINE | MN-MZ | bar: 4; 7; 0; 3
566 | CI-029 | SECURITY POST I | MN-GR | bar: 5; 8; 1; 4
567 | CI-030 | SECURITY POST II | MN-GR | bar: 6; 9; 2; 5
568 | CI-031 | SECURITY POST III | MN-GR | bar: 7; 0; 3; 6
569 | CI-033 | PAVING BLOCK & LANDSHAPING | MN-GR | bar: 7; 0; 3; 6
570 | CO-001 | PANEL PAGING | LG-4 | bar: 1; 9; 8; 7; 6; 5
571 | CO-002 | PANEL CAR CALL | LG-4 | bar: 2; 0; 9; 8; 7; 6
572 | CO-003 | VOLUME CONTROL | LG-4 | bar: 3; 1; 0; 9; 8; 7
573 | CO-004 | PANEL MDF | LG-4 | bar: 4; 2; 1; 0; 9; 8
574 | CO-005 | SUB PANEL LG-4 - LT. 7 | MN-07 | bar: 5; 3; 2; 1; 0; 9
575 | CO-006 | SUB PANEL LT.8 - LT. 17 | MN-08 | bar: 6; 4; 3; 2; 1; 0
576 | CO-007 | SUB PANEL LT. 18 - LT. 27 | MN-18 | bar: 7; 5; 4; 3; 2; 1
577 | CO-008 | SUB PANEL LT. 28 - LT. 36 | MN-28 | bar: 8; 6; 5; 4; 3; 2
578 | CO-009 | LOAD SPEAKER LG-4 - LT. 7 | MN-07 | bar: 1; 9; 7; 6; 5; 4
579 | CO-010 | LOAD SPEAKER LT. 8 - LT. 17 | MN-08 | bar: 2; 0; 8; 7; 6; 5
580 | CO-011 | LOAD SPEAKER LT. 18 - LT. 27 | MN-18 | bar: 3; 1; 9; 8; 7; 6
581 | CO-012 | LOAD SPEAKER LT. 28 - LT. 36 | MN-28 | bar: 4; 2; 0; 9; 8; 7
582 | CO-013 | WIRING LG-4 - LT. 7 | MN-07 | bar: 5; 3; 1; 0; 9; 8
583 | CO-014 | WIRING LT. 8 - LT. 17 | MN-08 | bar: 6; 4; 2; 1; 0; 9
584 | CO-015 | WIRING LT. 18 - LT. 27 | MN-18 | bar: 7; 5; 3; 2; 1; 0
585 | CO-016 | WIRING LT. 28 - LT. 36 | MN-28 | bar: 8; 6; 4; 3; 2; 1
586 | CO-025 | CCTV LIFT 1 - 4 | MN-CP | bar: 8; 7; 5; 3; 2; 1
587 | CO-026 | CCTV LIFT 5 - 8 | MN-CP | bar: 9; 8; 6; 4; 3; 2
588 | CO-027 | CCTV LIFT 9 -13 | MN-CP | bar: 0; 9; 7; 5; 4
589 | CO-028 | CCTV OUTDOOR 14 - 25 | MN-GR | bar: 1; 0; 8; 6; 5
590 | CO-029 | MDF TELEPHONE | LG-1 | bar: 2; 1; 9; 7; 6
591 | CO-030 | DISTRIBUTION BOX LG4 - LT. 7 | MN-07 | bar: 3; 2; 0; 8; 7
592 | CO-031 | DISTRIBUTION BOX LT. 8 - LT. 17 | MN-08 | bar: 4; 3; 1; 9; 8
593 | CO-032 | DISTRIBUTION BOX LT. 18 - LT. 27 | MN-18 | bar: 5; 4; 2; 0; 9
594 | CO-033 | DISTRIBUTION BOX LT. 28 - LT. 36 | MN-28 | bar: 6; 5; 3; 1; 0
595 | CO-034 | PABX | LG-4 | bar: 7; 6; 4; 2; 1
596 | CO-035 | FAXIMILIE | CP-8 | bar: 8; 7; 5; 3; 2
597 | CO-036 | TV LG-4, P10 | LG4 | bar: 9; 8; 6; 4
598 |  | POMPA TAMAN | POS1 | bar: 4; 8; 2; 6; 0; 4; 8; 2; 6; 0; 4; 8; 2